## R8(ver_1070706)
Year:					Month:					Company Name:

				27
				Domestic water					Consumption					108
				Discharge(d1)
				0
				135					(P2)
				(w3)					(P3)
	11976					11114					28319					Water purification system				24267			Manufacturing process / system					3122					8442		Wastewater treatment facility					8550
	City water (W)					(w1)					(P1)					Discharge(d2)				(D1)					Total discharge(D2)
				727					3457					50000
				(w2)					Recycle(c7)					595					0
				3282				C7 > 50% of recycled/reused water from whole factory					Discharge(d3)					(r4)			Explanation of Symbols:
				0					Recycle(c1)					A1:	Outside air condensate (OAC)
				(R1-1)					175					21145					A2:	Harvested rainfall
				For miscellaneous use(c2)					W :	City water
				w1:	For water purification system / Manufacturing process purpose
				13923					Reclamation system					w2:	For miscellaneous purpose
				For process use(c3)					w3:	For domestic purpose
				5465					0					D1:	Discharge to wastewater treatment facility
				For miscellaneous use(c4)					(r1)					D2:	Total discharge
				0		(A1-1)					1757					d1:	Watsewtaer from domestic use
				0		(A2-1)					Discharge(d4)					d2:	Watsewtaer from manufacturing process system
	318		OAC(A1)					0		(R2-1)			318		(A1-2)					d3:	Watsewtaer from water purification system
				0					d4:	Watsewtaer from reclaimation system
				(f1)		c5					41	Evaporation(V2)					d5:	Watsewtaer from miscellaneous use
	143		(A2)					143		(A2-2)			408			Local/Central / Scrubber					0					R1:	Total reused water
	Harvested rainfall					(r2)					r1:	Reused water from manufacturing process system
				The conductivity					367					r2:	Reused water from L/C scrubber
	0		(R2)					0		(R2-2)				of blowdown					(d5-1)					r3:	Reused water from cooling tower
	Outside reclaimed					1800			0					r4:	Reused water from wastewater treatment facility
	water					187				3799					R2:	Outside reclaimed water
				0		(R1-2)					c8			c6		Evaporation(V1)					P1:	Water intake of water purification system
				(f2)			Cooling tower					0					P2:	Directly water intake of manufacturing process system
				6828	4577					(r3)					P3:	Pure water intake of manufacturing process system
				(F)					c1:	Recycled water in water purification system
				2968					c2:	Returned water from water purification system (for miscellaneous use)
				0	(f4)					20			778			Discharge(d5)					c3:	Returned water from manufacturing process system (for process use)
				Domestic use (ex. flushing water)		(f3)				Consumption			(d5-2)					c4:	Returned water from manufacturing process system (for miscellaneous use)
				1843			Public water					c5:	Recycled water in L/C scrubber (shall have reclaimed process)
				1823		(d5-3)					c6:	Recycled water in cooling tower (shall have reclaimed process)
				( If use side stream filtration, c6 = f2 x 0.02 )
				0					c7:	Recycled water in process system (shall have reclaimed process
				Total reused water(R1)					and flow meter)
				c8:	Contribution of the concentration of cooling system
				Shall meet the recovery rate commitment of EIA					V1:	Evaporation of cooling tower (1,000 RT≒120 ~ 150 CMD)
	Manufacturing process water recovery rate (RP)			=	c1+c2+c3+c4+c7"+(R1-1)+(R2-1)					* 100% =			93.0%		(> %)		Note :					V2:	Evaporation of L/C scrubber (1,000 CMM≒5 CMD)
				P1+P2+c7"					: Keyin data					: Automatic calculation					F:	Total miscellaneous water
	Total factory water recovery rate (RT)			=	(A1+A2)+(c1+c2+c3+c4+c5+c6+c7"+c8+R1+R2)					* 100% =			90.0%		(> %)					f1:	Water intake of L/C scrubber
				(W+A1+A2)+(c1+c2+c3+c4+c5+c6+c7"+c8+R1+R2)-V1-V2					f2:	Water intake of cooling tower
	Total discharge rate (DT)			=	D2					* 100% =			68.7%		(< %)					f3:	Water intake of public use
				W+A1+A2+R2					f4:	Reused water for domestic use (ex. Flushing water)

				!!CAUTION!!	When C7 > 50% of recycled/reused water from whole factory, if the factory not belong to the optoelectronics industry, shall submit to the HSPB to explain and confirm the reasonable of water use